Appendix  X  Quality Management

Quality objectives

1.Project Quality Management General Objective.

1.1Overall project QA/QC management.

1.2Fully fulfill the MAIN CONTRACT’s requirements.

1.3No Quality Accident.

1.4Smoothly pass the completion inspection.

2.Quality standards

The engineering, design, construction, procurement, testing and commissioning of the Project and all its components, including all auxiliary facilities and systems shall comply with the requirement of applicable latest international codes and standards either local codes and standards or in their latest editions. Where local codes are not available, international codes and standards in their latest edition shall be applicable.

After installation at Sites, the commissioning and test shall in accordance with international codes and standards and with applicable regulations.

In addition to the codes and standards stated in the Approved Drawings, the construction of the Project shall strictly meet all requirements of the local Grid Code. Local building codes shall be followed with respect to civil works.

The codes and standards shall be adopted according to Approved Drawings. If the requirement from Approved Drawings conflict with the local country or law, standards, regulations and design specifications, then the most stringent requirements shall apply.

This project quality control generally adopts the South Africa & international Codes & Standards, however, the Owner may reserve the right of adopting some or all, and accordingly Party B will not make any claim for extra compensation based on such change. The Project Codes & Standards as follows (not limited to):

National Standards

SANS 10142-1 (Ed.3.2)

SANS 60364-7-712

SANS 62446

SANS 62930 (IEC 62930)

SANS 10142-1 earthing clauses

SANS 1200 Series

SANS 10161

SANS 10400-H

SANS 10400-T

SANS 10125

SANS 121

SANS 3001 Series

SANS 10100-1

SANS 920

SANS 3001-GR2

International Standards

IEC 60364-7-712

IEEE 1547 relevant test parts

ISO 12944 (construction chapters)

IEC 60068 (environmental test parts)

Recommendations

AASHTO 	American Association of State Highway and Transportation Officials

ACI	       American Concrete Institute

AGMA	    American Gear Manufacturers Association

AIJ	        Architectural Institute of Japan

AISC	     American Institute of Steel Construction

AISE	     Association of Iron and Steel Engineers

AISI	    American Iron and Steel Institute

AMCA	    Air Moving and Conditioning Association

API	        American Petroleum Institute

ASCE	     American Society of Civil Engineers

ASHRAE	  American Society of Heating, Refrigeration and Air Conditioning Engineers

ASME	     American Society of Mechanical Engineers

ASTM	     American Society for Testing Materials

AWS	      American Welding Society

AWWA	      American Water Works Association

CIRIA	      Construction Industry Research and Information Association

HIS	         Hydraulic Institute Standards

IBC 	      International Building Code

ICE          Institution of Civil Engineers

IEEE	      Institute of Electrical and Electronics Engineers

IES          Illuminating Engineering Society

IFC	         International Fire Code

IMC	      International Mechanical Code

IPC         International Plumbing Code

IPCEA	     Insulated Power Cable Engineers Association

ISA     	  Instrument Society of America

JEC	         Japanese Electrical technical Institute

JEMA	      Japan Electrical Manufacturers Association

JIS	         Japanese Industrial Standards

MDEC	      Metering and Data Exchange Code

NACE	      National Association of Corrosion Engineers

NERC	      North American Electric Reliability Corporation

NFPA	       National Fire Protection Association

NBC          National Building Code

NESC         National Electrical Safety Code

NEMA        National Electrical Manufacturers Association

NETA         International Electrical Testing Association

SASO         Saudi Arabian Standard Organization

UBC          Uniform Building Code

TEMA	       Tubular Exchanger Manufacturers Association

UL	           Underwriters Laboratory

USEPA        United States Environmental Protection Agency

VDE	       Verband Deutscher Elektrotechniker (German Society of Electrical Engineers)

VDI	       Verband Deutscher Ingenieure (German Society of Engineers)

- Quality Management

3.1 Party B shall responsibility for quality management site activity including but not limited to the compilation and release of ITP, FQP and ICL, commencement report, quality measures, concealed engineering, quality control team plan etc. ITP, FQP and ICL prepared by the bidder shall be submitted to the Party A and the owner for review and approval before it can be implemented. Party B shall inform Party A to inspect site activity before 24 hours. The commencement report shall be submitted to Party A for approval half a month before commencement. Party B shall take the action to modify the NCR, any delay will be punished as per situation. Party B site quality management shall meet the requirement of , OWNER, local authority regulation, the site risk measurement plan shall be submitted to Party A for approval. Party B need to follow the measurement to take the action to ensure all the activity is under control. Party A’s quality management refer to the Quality assessment agreement.

3.2 The Party B shall set up a special quality inspection institution in the construction site, and shall employ at least one foreign quality manager and also shall be equipped with full-time and experienced quality engineers/inspectors with to establish a sound quality inspection system as per the ISO9001. The organization chart, details of the responsibilities, quality inspection procedure and the detailed rules for the implementation, etc. shall be submitted to the Party A for approval within 21 days after the signature of the contract..

3.3 All construction workers should attend the quality and technical training organized by Party B, and keep the complete hard-copy training records, and the skill performance should be assessed regularly. The Subcontractor shall implement the specification and procedure strictly.

3.4 For those construction quality not up to contract standard, the Party A is entitled to request the Party B to rework until the defects compliance with the requirements of the contract, the resulting in increased costs and delay shall be borne by Party B.

3.5 Party B should prepare and issue the Quality assurance plan and procedure manual according to ISO90001 requirement for the Party A approving, and execute these procedure during the construction activities. The Quality Assurance Plan for the project should be submitted within 14 days after the contract in operation. The quality assurance plan procedures should be submitted within 21 days after The Quality Assurance Plan published. The detail execution statement should be described in The Quality Assurance Plan. The approval from the Party A these quality assurance plan will not relieve the project obligations or blames of the Party B.

3.6 The Party A or representative is entitled to audit and supervise the Party B quality management system regularly from the contract in operation until the project completion. The auditing and supervision can be carried out on site or material storage area, while these activities should not impact or interrupt the construction processing. Project manager or representative of the Party B shall be invited to attend the checking. The Party B shall arrange for the Party A's review, supervision or verification activities to facilitate access to Party B works and provide appropriate facilities and equipment. Party A informs the Party B of the nonconformity found in the review or supervision process by issuing the Non Conformance Report (NCR). The Party B shall give a written reply to the nonconformity. The Party B shall maintain official records for all non conformities, and their disposal and / or corrective actions taken.

3.7 Party B responsible for all the relevant test, inspection, acceptance and other work of the bid section and submit various test reports; including but not limited to rebar, concrete, earthing material and compaction test; The equipment materials supplied by the Party B shall be qualified materials and shall be accompanied by product certificates. All materials, brands, models, etc. of the subcontractor shall be approved by the general contractor. Organize and compile relevant records and original documents of the construction site, and handover to the Party A as required by the Party A before acceptance.

3.8 Party B shall establish and maintain a whole set of quality record according to the requirement of the Party A, as evidence of project quality in conformity with contractual quality requirements, which shall be submitted to the Party A upon the completion of project.

3.9 Examination of Works Before Covering up

3.9.1No works shall be covered up without the approval of the Party A, the Party B shall afford full opportunity (3 days before covering) for the Contractor to examine and measure any works which is about to be covered up.

3.9.2Note the Party A for inspection：The Party B should issue the written notice to the Party A for the inspection after self-checking for those concealed parts, the checking result should be eligible. The self-checking record, and other necessary documents, aims and location & time should be adhered with the notice. The Party B only can proceed the work with result is eligible and the Party A representative sign the record. If the production is unqualified, the Party B should take actions to correct the defects within the time line from the Party A. The Party A will recheck the part after the modification work completed.

3.9.3For the Party A cannot inspect on time or come to site for checking, a written note should be issued for the request to delay the inspection, and the inspection can be delayed, while cannot exceed 48 hours (this is not applied the situation in case of any Force majeure event). No delay request with above time line and no acceptance inspection from the Party A, the Party B can organize to check and the Party A should accept the result records.

3.9.4 Once the Party A raise quality query for those concealed parts which the Party B has completed the coverage work, the Party B should implement the instruction and redo the coverage work after inspection. If the construction quality meet the standard in the contract, the Party A will charge the cost and delay. If the construction quality is unqualified，the resulting in increased costs and delay shall be borne by the Party B.

3.9.5 Without note the Party A for inspection and complete the coverage with permission, the Party A is entitled to instruct the Party B to do the inspection by drilling holes or open the coverage, the resulting in increased costs and delay shall be borne by the Party B.

3.10 Party B shall carry out quality-related activities, implement project excellence-related works, and submit weekly/monthly quality report and other quality special reports according to the requirement of the Party A.

4. Owner's requirement

4.1General Quality Compliance

The Subcontractor warrants that, in providing the Works, it shall at all times fully comply with all Applicable Law, regulations, standards and specifications relating to quality, including but not limited to the National Building Regulations, the South African National Standard (SANS) codes, the Construction Industry Development Board (CIDB) requirements, the EPC contract requirements, reasonable requirements from ESKOM and any other quality-related legislation or industry standards applicable to the Site and the Works. In particular and not by way of limitation, the Subcontractor shall, and shall ensure that all its employees, agents, subcontractors and any person for whom it is responsible, comply with all quality management rules, quality control procedures, testing and inspection protocols, documentation and record-keeping requirements prescribed by the Contractor, the Employer, the Lender’s Technical Advisor, the Independent Engineer and any Government Authority applicable to the Site

4.2 The Subcontractor shall establish and maintain a comprehensive quality management system that complies with ISO 9001 (or equivalent internationally recognised standard) for the duration of the Works. The Subcontractor shall submit to the Contractor for review and written approval, no less than 2 weeks prior to the commencement of any activities on the Site, a Quality Plan (including Inspection and Test Plans – ITPs, method statements for quality-critical activities, material traceability procedures, non-conformance reporting and corrective action procedures, and calibration records for all test equipment). The preparation of the ITP shall comply with the EPC contract. No work may be performed on the Site without a fully approved Quality Plan.

4.3 In the event of any quality failure, defect, non-conformance or material discrepancy occurring in connection with the Works, the Subcontractor shall immediately notify the Contractor telephonically, followed by a written preliminary report within 4 (four) hours, and a full detailed investigation report (including root cause analysis and CAPA) within 48 (Forty-eight) hours.

4.4 The Subcontractor shall take full and exclusive responsibility for ensuring that all Works performed by it, and all Plant, Materials, equipment and goods supplied by it, conform strictly to the requirements of the Contract, the approved drawings, specifications, standards and the Quality Plan. The Subcontractor shall carry out all necessary inspections, tests, sampling and measurements in accordance with the approved ITPs, at its own cost, and shall maintain complete, accurate and traceable records of all such quality control activities. The Contractor and the Employer’s representatives shall be entitled to witness any inspection or test and to review all quality records at all reasonable times.

4.5 If any part of the Works, or any Material or product supplied by the Subcontractor, fails to conform to the Contract requirements (a “Non-Conformance”), the Subcontractor shall immediately notify the Contractor in writing, stop further work affected by the Non-Conformance (unless otherwise directed by the Contractor), and propose a corrective action and/or a disposition (rework, repair, replace or accept with concession). No Non-Conformance may be corrected or closed out without the Contractor’s prior written approval. The Subcontractor shall bear all costs of rework, repair, replacement, retesting and any delay caused by Non-Conformances.

4.6 The Subcontractor shall maintain a Non-Conformance Register and a Corrective and Preventive Action (CAPA) log, which shall be updated weekly and made available to the Contractor for inspection at all times. For any material Non-Conformance (or repeated minor Non-Conformances), the Subcontractor shall, within 48 hours, provide a detailed root cause analysis and CAPA report to the Contractor.

4.7 The Subcontractor shall ensure that all its Personnel involved in quality-critical activities (including welding, concrete placement, coating, electrical installation, testing, etc.) possess the required qualifications, certifications and competencies as specified in the Contract and Applicable Law. Copies of all such qualifications and certifications shall be submitted to the Contractor prior to such Personnel commencing work on Site.

4.8 Upon completion of the Works (or agreed sections thereof), the Subcontractor shall submit to the Contractor a complete quality dossier comprising all inspection reports, test certificates, calibration records, Non-Conformance and CAPA records, as-built documentation, and any other quality records required by the Contract. Handing over of the Works shall not be deemed complete until the quality dossier has been accepted in writing by the Contractor.

4.9 The Subcontractor shall fully comply with all quality-related provisions of the National Regulator for Compulsory Specifications (NRCS) Act, the Standards Act, and any other legislation imposing compulsory specifications or quality standards on the Works, Materials or equipment supplied by the Subcontractor.